AFM Corporation

17645 Juniper Path, Suite 260

Lakeville, MN 55044

Phone: (800) 255-3908

Phone: (952) 892-0809

Fax: (952) 232-1091

www.foam-control.com

SECTION 07 22 16

NailBase InsulatioN

GENERAL

SUMMARY

Section Includes: Nailbase Insulation.

Related Sections: Section(s) related to this section include:

Section 06 10 00 Rough Carpentry

Section 05 30 00 Metal Deck.

SYSTEM DESCRIPTION

    - Nailbase Insulation consisting of oriented strand board (OSB) laminated to a termite resistant expanded polystyrene (EPS) insulation core.

REFERENCES

ASTM C578 – Standard Specification for Rigid, Cellular Polystyrene Thermal Insulation.

PS2 - Performance Standard for Wood-based Structural-use Panels.

ICC ES AC12 – Acceptance Criteria for Foam Plastic Insulation.

ICC ES AC239 – Acceptance Criteria for Termite-Resistant Foam Plastics.

SUBMITTALS

Product Data: Submit product data for specified products.

EPS Code Compliance: Provide ICC ES code report for EPS foam with evidence of compliance with code.  Submit current compliance report from ICC ES with conformance to the 2006 International Building Code (IBC) and 2006 International Residential Code (IRC).  Code report shall include compliance with ICC ES AC12 (Foam Plastic) dated June 2006 and ICC ES AC239 (Termite-Resistance) dated June 2008.

Manufacturer’s Instructions:  Nailbase Insulation manufacturer’s installation guidelines.

Quality Assurance Submittals: Submit the following:

Certificate: certificate showing compliance of EPS insulation to Third Party Quality Control program of Underwriters Laboratories, Inc.

Warranty:  Warranty documents specified herein.

QUALITY ASSURANCE

Source Limitations:  Obtain all Nailbase Insulation through one source.  All accessories to be as furnished or recommended by the Nailbase Insulation manufacturer.

DELIVERY, STORAGE & HANDLING

Delivery: Deliver materials from Nailbase Insulation manufacturer with identification labels or markings intact.

Storage:  Store products off the ground, in dry conditions, under cover and in manufacturer's unopened packaging until ready for installation.  Protect insulation from open flame and keep dry at all times.

PRODUCTS

***Note to Specifier*** Select the name and address of the local Licensed Foam-Control EPS Nailbase Insulation Manufacturers/Suppliers.

Manufacturers/Suppliers:

    - ACH Foam Technologies, LLC, 5250 North Sherman St., Denver, CO  80216

    - ACH Foam Technologies, LLC, 111 W. Fireclay Ave., Murray, UT  84107

    - ACH Foam Technologies, LLC, 775 Waltham Way, Suite 105, McCarran, NV  89434

    - ACH Foam Technologies, LLC, 90 Trowbridge Drive, Fond du Lac, WI  54936-0660

    - ACH Foam Technologies, LLC, 4001 Kaw Drive, Kansas City, KS  66102

    - ACH Foam Technologies, LLC, 1418 Cow Palace Road, Newton, KS  67114

    - ACH Foam Technologies, LLC, 809 East 15th Street, Washington, IA  52353

    - ACH Foam Technologies, LLC, 2731 White Sulphur Road, Gainesville, GA  30501

    - Big Sky Insulations, Inc., 15 Arden Drive, Belgrade, MT  59714

    - Branch River Plastics, Inc., 15 Thurber Boulevard, Smithfield, RI  02917

    - Henry Products, Inc., 302 S. 23rd Avenue, Phoenix, AZ 85009

    - Mid-Atlantic Foam, Inc., 57 Joseph Mills Drive,  Fredericksburg, VA  22404

    - Mid-Atlantic Foam, Inc., 326 McGhee Road, Winchester, VA  22603

    - NoArk Enterprises, Inc., 10101 Highway 70 East, North Little Rock, AR  72117

    - Poliestireno Alfa-Gamma S.A. DE C.V., Maquiladoras #331 Interior A y B, Tijuana, BC, Mexico, 22500

    - PolyFoam Inc, 116 Pine Street South, Lester Prairie, MN 55345

    - Therma Foam, LLC, 1240 Hwy 77 North, Hillsboro, TX 76645

    - Thermal Foams, Inc., 2101 Kenmore Avenue, Buffalo, NY 14207

    - Thermal Foams/Syracuse, Inc., 6173 South Bay Road, Cicero, NY 13039

    - AFM Corporation, 17645 Juniper Path, Suite 260, Lakeville, MN 55044

Materials

Nailbase Insulation consisting of the following:

UL certified EPS core with Perform Guard treatment, complying with ASTM C578 Type I and having ICC ES recognition of termite resistance.  Insulation manufacturer shall provide Third Party UL certificate.  ICC ES report shall be provided for recognition of termite resistance in compliance with ICC AC239.

OSB identified with APA or PFS performance mark with Exposure I durability rating and performance in accordance with DOC PS-2 span rating 24/16 or greater.

Optional:  FrameGuard treatment for mold, mildew, and termite resistance meeting the following requirements:

        - Registered with EPA.

        - Indoor Air Quality Certified under GEI Standard for Low-Emitting Products.

        - Mold growth: 0 rating, tested to ASTM D3273 for 8 weeks at 77 degrees F and 100 percent relative humidity.

        - Termite resistance: Minimum rating of 7.0, tested to AWPA E-1.

        - Corrosion potential for metals in contact with treated wood: Maximum 2 mils per year, tested to AWPA E12 for minimum of 60 days on aluminum 2024, carbon steel, hot-dip galvanized steel, and G90 galvanized steel.

        - Equivalent lateral resistance and tooth holding capacity as untreated wood.

Optional:  Provide [specify single or dual] direction vent channels with [specify 1/2”, 1”, 1-1/2”, or 2”] depth

Accessories

Fasteners:  corrosion resistant SIP screws compatible with the Nailbase Insulation shall be provided by the Nailbase Insulation manufacturer.

      - Wood Screws for attachment to wood members

      - Heavy Duty Metal Screws for attachment to metal members (16 gauge to 3/16”)

      - Light Duty Metal Screws for attachment to metal decks (18 gauge or thinner)

Splines: As required, OSB splines shall be supplied by the Nailbase Insulation manufacturer.

Sealant:  As required, Sealant shall be specifically designed for use with Nailbase Insulation.  Sealant shall be provided by the Nailbase Insulation manufacturer.

Dimensional Lumber:  SPF, #2 or better, or engineered equivalent unless otherwise required by architectural drawings.

Insulation Size

Sizes:  Nailbase Insulation shall be manufactured to sizes in accordance with the approved architectural drawings

Thermal Resistance, R-value

***Note to Specifier*** Select the R-value as required for each area of construction.

1.	      2” (51 mm) thick Nailbase Insulation with R-value of 6.4 at 75oF (6.8 at 40oF

2.	      4” (102 mm) thick Nailbase Insulation with R-value of 14.1 at 75oF (15.2 at 40oF)

      - 6” (152 mm) thick Nailbase Insulation with R-value of 21.8 at 75oF (23.5 at 40oF)

      - 7.75” (197 mm) thick Nailbase Insulation with R-value of 28.5 at 75oF (30.8 at 40oF)

      - 9.75“  (248 mm) thick Nailbase Insulation with R-value of 36.2 at 75oF (39.1 at 40oF)

      - 11.75” (298 mm) thick Nailbase Insulation with R-value of 43.9 at 75oF (47.5 at 40oF)

PRODUCT SUBSTITUTIONS

Substitutions: No substitutions permitted without fourteen day (14) prior approval.

SOURCE QUALITY

Source Quality Assurance: All components required shall be supplied by Nailbase Insulation manufacturer or its approved supplier.

1.	Provide evidence of UL Third Party inspection and labeling of all EPS insulation used in manufacture of Nailbase Insulation.

2. 	Nailbase Insulation manufacturer shall provide 20 year 100% R-Value warranty.

      - Provide Nailbase Insulation with Foam-Control EPS with Perform Guard treated for termite resistance. Treatment shall be EPA registered with treatment efficacy substantiated by independent research and ongoing in-plant testing.

Source Quality: Obtain Nailbase Insulation from a single manufacturer.

EXECUTION

MANUFACTURER’S INSTRUCTIONS

Compliance: Install in accordance with manufacturer's instructions..

Deviations from standard detail and design values shall be approved by the architect/engineer for the project.

EXAMINATION

Site Verification of Conditions: Verify substrate conditions (which have been previously installed under other sections) are acceptable for product installation in accordance with manufacturer’s instructions.

INSTALLATION

Nailbase Insulation Installation:

      - Fastening: Attach Nailbase Insulation with OSB facing up to structural deck/substrate using SIP screws as shown on drawings. SIP screw to have a minimum of 1" (25.4 mm) penetration into structural deck/substrate.

Vapor Retarders: Provide vapor retarders as mandated by building code or engineering analysis.

PROTECTION

Protection: Protect installed product and finish surfaces from damage during construction.

Protect Nailbase Insulation from weather by installing roofing materials to provide temporary protection at the end of the day or when rain or snow is imminent.

Install weather resistive roofing and/or cladding materials per roofing and/or cladding manufacturers’ specifications and recommendations.

Nailbase Insulation shall be protected from exposure to solvents and their vapors.

END OF SECTION